{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","说明"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":3,"n_cols":10,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
["设备编号","变量名","变量编码","监控设备ID","通信设备ID","数据地址","数据类型","系数","存盘周期","变量类型"]
["DA011","A相电流","Ia",0,345,"YC[1]","4字节浮点4321",0.01,5,1]
["DA012","B相电流","Ib",0,334,"YC[2]","4字节浮点4321",1,5,1]

{"sheet":"说明","index":1,"n_rows":11,"n_cols":4,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
["字段","是否必填","长度","描述"]
["设备编号","是",25,"为需导入设备的二维码唯一编号"]
["变量名","是",50,"根据采集器厂商规则编写如A相电流"]
["变量编码","是",50,"为变量对应编码如Ia"]
["监控设备ID","是",11,"为监控设备对应自增唯一编号（请到对应监控设备页面获取或联系后台管理人员）"]
["通信设备ID","是",11,"为通信设备对应自增唯一编号（请到对应通信设备页面获取或联系后台管理人员）"]
["数据地址","是",25,"为采集对应地址，请按照要求填写如遥测（YC[1]），遥信（YX[1]）"]
["数据类型","是",25,"请按照要求填写（4字节浮点4321）"]
["系数","是","小数保留小数点后3位","采集值存库系数"]
["存盘周期","是",5]
["变量类型","是","（1,2,3）","1.模拟量 2.状态量 3.参数量"]